### 19.1.14.12  Loss of Telephone Service Policy & Procedure

Purpose:  In the event that there is a power outage, or other circumstances in which the facility is out of telephone service, it is important that staff know how to respond in such a situation. The facility's operation depends on the use of telephone a great deal.

It is important that the nursing personnel are able to communicate with physicians regarding resident care. It is also important that we be able to make emergency contacts if need be. The following procedures should provide clear guidelines for staff to follow if this situation occurs.

Procedures:

- In the event that telephone service is lost due to outside causes, the telephone company must be notified immediately.

- Unplug the fax machine, and plug in the Emergency Phone.

- If the Emergency Phone does not work, the Maintenance Director, or other designated person, shall be directed to go to the nearest operating telephone available in order to report the loss, and as much information concerning the outage as possible.

- If the telephone service is anticipated to be out for an indefinite period of time, the shift charge nurse shall contact the local radio station to inform them of the phone outage so that weather and other major announcements can be relayed to the facility during the telephone outage.

- A designated person and vehicle must be ready at all times to depart in an emergency in order to report any disaster requiring emergency services from the police, fire department, or ambulance.