### 19.1.14.10   Fire Policy & Procedure

Purpose:  The primary purpose of the Fire Policy and Procedure is to provide a course of action for all personnel to follow in the event of a fire.

Procedure:

R - Rescue anyone in immediate danger.

A - Alert other staff members of the fire and location over the intercom system. Pull the nearest fire alarm. The Person in Charge shall contact the fire department by calling 911.

C - Contain the fire. Close all doors and windows adjacent to the fire. Close all fire doors. Shut off all fans, ventilators and air conditioners, as these will feed the fire and spread smoke throughout the building.

E - Extinguish if the fire is small. The extinguisher should be aimed low at the base of the fire, and move slowly upward with a sweeping motion.

- Never aim high at the middle or top of the flames as this will cause the fire to spread.

- If you cannot extinguish the fire, evacuate the building immediately.

Special Note: The most common cause of death in a fire is smoke, and not the flames. Keep low to the floor and avoid inhaling too much smoke.

Duties of Personnel:
Person In Charge:

- Call the fire department at 9-1-1. Give exact location of the fire and its extent.

- Call the Administrator.

- Assist with residents if evacuation is necessary.

- Assign a staff member to meet the fire department in order to direct them to the fire. Assign a staff member to keep a roster of residents if evacuation is necessary. Assign a staff member to answer the telephone and relay messages and instructions.

Nursing, Dietary, and Housekeeping/Laundry Personnel:

- Remove residents from immediate danger.

- Close all doors and windows.

- Turn off fans, ventilators, air conditioners, and other equipment.

- Stay close to residents to provide reassurance and provide comfort measures.

- Make sure fire exits are clear.

Maintenance Personnel:

- Go directly to scene of fire, taking extra fire extinguishers.

- Check to be sure that all ventilating or blower equipment is shut off.

- Once fire is over, care for all fire extinguishers.

Administrator:

- Call the fire department if not already done.

- Coordinate staff movement for highest efficiency.

- Assist with resident movement in coordination with charge nurse.

- Delegate responsibility for the movement of records as deemed necessary.

- Check with department heads in the event of evacuation to determine that all staff and residents are out of the building.