| 1. Incident Name Water Leak—Admin Area |  | 2. Operational Period (#1) DATE: FROM: ______1/22/26_____ TO: ______1/22/26____________________ TIME: FROM: ______0800_________________ TO: __1200_________________ |  |  |
| --- | --- | --- | --- | --- |
| 3. Situation Summary — HICS 201 — |  |  |  |  |
| UPDATE INJECT 3: Water intrusion has reached electrical panels in the affected corridor. Risk of electrical shock, equipment failure, and potential power loss. Patient relocation underway from overheated areas. Facilities and contractor teams on site; electrical assessment required immediately. UPDATE: Water intrusion has spread from the administrative wing into adjacent patient corridors. Several patient rooms are now impacted or at risk. Safety hazards have increased due to wet flooring and potential electrical exposure. Patient care operations may be disrupted, and relocation of at-risk patients may be required. Facilities and contractors are on scene; containment efforts are ongoing. ORIGINAL At approximately 0800, a water pipe ruptured in the ceiling above the administrative wing of the facility. Initial water intrusion affected non-clinical staff areas, but the situation escalated as water spread toward patient care corridors and threatened nearby electrical systems. Multiple hospital departments are now involved in containment, patient safety operations, and facility restoration. |  |  |  |  |
| Medical-Technical Specialists Facilities Engineer, Infection Prevention (as needed) 4. Current Hospital Incident Management Team (fill in additional positions as appropriate) — HICS 201, 203 — Incident Commander Administrator On Duty/Call Liaison Officer EM Safety Officer Risk Manager Public Information Officer Communications Director Can Add or Reinforce: Electrical/Utility Group under Infrastructure, additional Safety Officer or Assistant Safety, Staging Manager, PIO (if staff messaging is needed), Facilities Unit Leader, Patient Care Branch Director Planning Section Chief EM /Quality Operations Section Chief House Sup Finance / Administration Section Chief Logistics Section Chief Supply Chain / Facilities |  |  |  |  |
| 5. Health and Safety Briefing Identify potential incident health and safety hazards and develop necessary measures (remove hazard, provide personal protective equipment, warn people of the hazard) to protect responders from those hazards. — HICS 202, 215A — UPDATED INJECT 3: - Electrical hazard present — restrict access to affected corridor - Lockout/Tagout procedures required - No standing water near energized equipment - PPE: electrical-rated gloves, insulated boots for Facilities/contractors - Maintain clear egress routes during patient relocation UPDATED Key Hazards - Slip/Fall Hazards: Wet floors now present in patient corridors and near care equipment. - Ceiling Collapse: Water-damaged tiles may fall in patient rooms or hallways. - Electrical Hazards: Increased risk as water approaches outlets, beds, monitors, and corridor wiring. - Infection Control/Mold Risk: Wet materials in clinical areas increase contamination potential. - Patient Movement Hazards: Higher risk of strain, equipment tipping, or patient instability during relocation prep. - Responder Fatigue/Stress: Escalating operations and time pressure increase cognitive and physical load - Obstructed Egress: Equipment staged for relocation may block hallways or exits. Protective Measures - Remove Hazards: - Expand blocked-off zones into affected patient corridors. - Shut down power to circuits threatened by water intrusion (coordinate with Facilities and Nursing). - Clear and dry designated patient movement routes before relocation begins. - Extract water promptly from patient rooms and hallways. - Remove unstable ceiling tiles in patient-care areas. - Provide PPE: - Slip-resistant footwear, gloves, and eye protection for all responders in wet areas. - Hard hats in zones with overhead ceiling risk. - N95 respirators if mold or contaminated materials are suspected. - Gowns/gloves if patient care equipment or surfaces are contaminated. - Warn Personnel: - Establish and clearly mark exclusion zones around electrical panels, unstable ceilings, and heavily impacted rooms. - Post signage and communicate hazards via radio, unit huddles, and overhead messaging if needed. - Limit entry to essential personnel only in affected patient corridors. - Ensure staff moving patients are briefed on safe lifting, equipment handling, and route hazards. Safety Message UPDATED INJECT 3: Electrical hazards are present in the affected corridor. Avoid standing water and keep all staff out of restricted areas until Facilities confirms circuits are de-energized. Use appropriate PPE when working near utilities, maintain clear egress routes during patient movement, and monitor staff for heat stress while cooling systems are limited. UPDATED: Wet floors and electrical hazards are now present in patient areas. Use caution when moving patients or equipment. Do not enter restricted zones. Wear required PPE and report new hazards immediately. Ensure patient movement routes remain clear, dry, and safe. ORIGINAL: Watch for wet floors, overhead hazards, and electrical risks. Do not enter restricted zones. Use required PPE and report hazards immediately. |  |  |  |  |
| 6. Incident Objectives — HICS 202, 204 — |  |  |  |  |
| 6a. Objectives | 6b. Strategies / Tactics |  | 6c. Resources Required | 6d. Assigned to |
| Ensure Life Safety of Patients, Staff, and Responders during this operational period | - Expand Establish safety perimeter into around affected patient corridors areas - Assess electrical hazards with Facilities - Restrict access to unsafe corridors - Provide PPE guidance to responders - Monitor for slip/fall hazards |  | - Safety Officer - Clinical staff for potential patient movement prep - Facilities & Security personnel - PPE (gloves, boots, hard hats, N95 if needed) - Additional signage and barricades | - Safety Officer - Operations Section (Clinical Branch, Security) - Logistics (Facilities Unit) |
| Stop or significantly slow water intrusion into patient care areas within this operational period . | - Continue Leak isolation and Containment - Identify leak source - Expand barriers into patient corridors - Shut off water to affected line - Deploy containment barriers - Increase Begin water removal (wet vacs, absorbent materials) in clinical areas - Coordinate contractor repair timeline - Protect electrical panels and outlets from water exposure - Contact on-call contractor for emergency repair |  | - Facilities/Engineering staff - Plumber/contractor (if needed) - Electrical technicians - Water extraction equipment, fans, absorbent materials - Additional containment barriers | - Logistics (Facilities Unit) - Liaison Officer (Contractors) - Operations Section (Infrastructure/Engineering Branch) |
| OBJECTIVES | STRATEGIES / TACTICS |  | RESOURCES REQUIRED: | ASSIGNED TO |
| Prepare to relocate at-risk patients within the next 60 minutes. | - Identify high-risk patients in affected or adjacent rooms - Prepare receiving units and confirm bed availability - Stage wheelchairs, stretchers, and transport staff - Notify charge nurses of potential movement - Coordinate with Infection Prevention if contaminated materials are present |  | - Nursing staff - Patient transport teams - Wheelchairs, stretchers - Patient tracking tools - Clean linens and equipment | - Operations Section (Nursing Branch, Patient Transport) - Planning Section (Patient tracking support) - Logistics Section |
| Maintain situational awareness with 30-minute updates on water spread, electrical risk, and patient impact. | - Update incident map showing water spread - Track electrical risk and patient impact - Monitor contractor ETA - Document status changes and brief IC - Coordinate with Safety and Facilities for real-time updates |  | - Planning Section Chief - Scribe/Documentation support - Status board or digital tracker | - Planning Section - Safety Officer (input) - Operations Section (Infrastructure (input)) |
| Ensure electrical safety by assessing and securing all affected panels within this operational period to prevent equipment failure, shock risk, or power disruption. | - Conduct an immediate assessment of threatened electrical panels and implement lockout/tagout or shutdown procedures as needed to ensure responder and patient safety. - Continue water-containment efforts and deploy additional barriers to prevent intrusion into electrical and patient care areas. - Identify and prepare to relocate vulnerable patients who may be affected by electrical instability or water intrusion, including staging transport teams and receiving areas. - Develop short-term projections on water spread and electrical risk to guide IC decision-making for the next operational period. |  | - Electrical safety equipment (lockout/tagout kits, signage, portable lighting) - Additional Facilities staff or electrical contractor support - Patient transport teams and relocation equipment staged for rapid movement - Water-control materials (wet vacs, barriers, plastic sheeting) | - Logistics (Facilities Unit Leader) - Safety Officer - Operations Section Chief (Patient Care Branch Director) |

| 7. Prepared by | PRINT NAME: ____________________________________________ DATE/TIME: ______________________________________________ | SIGNATURE: ______________________________________________________ facility: _________________________________________________________ |
| --- | --- | --- |

# Purpose:	The Incident Action Plan (IAP) Quick Start is a short form combining HICS Forms 201, 202, 203, 204 and 215A. It can be used in place of the full forms to document initial actions taken or during a short incident. Incident management can expand to the full forms as needed.

origination:	Prepared by the Incident Commander or Planning Section Chief.

copies to:	Duplicated and distributed to Command and General staff positions activated. All completed original forms must be given to the Documentation Unit Leader.

Notes:	If additional pages are needed for any form page, use a blank HICS IAP Quick Start and repaginate as needed. Additions may be made to the form to meet the organization’s needs.

| NUMBER | TITLE | INSTRUCTIONS |
| --- | --- | --- |
| 1 | Incident Name | Enter the name assigned to the incident. |
| 2 | Operational Period | Enter the start date (m/d/y) and time (24-hour clock) and end date and time for the operational period to which the form applies. |
| 3 | Situation Summary | Enter brief situation summary. |
| 4 | Current Hospital Incident Management Team | Enter the names of the individuals assigned to each position on the Hospital Incident Management Team (HIMT) chart. Modify the chart as necessary, and add any lines/spaces needed for Command staff assistants, agency representatives, and the organization of each of the General staff sections. |
| 5 | Health and Safety Briefing | Summary of health and safety issues and instructions. |
| 6 | Incident Objectives |  |
|  | 6a. Objectives | Enter each objective separately. Adjust objectives for each operational period as needed. |
|  | 6b. Strategies / Tactics | For each objective, document the strategy/tactic to accomplish that objective. |
|  | 6c. Resources Required | For each strategy/tactic, document the resources required to accomplish that objective. |
|  | 6d. Assigned to | For each strategy/tactic, document the Branch or Unit assigned to that strategy/tactic. |
| 7 | Prepared by | Enter the name and signature of the person preparing the form. Enter date (m/d/y), time prepared (24-hour clock), and facility. |